A PROJECT REPORT

on

Microgrid Energy Mix Optimizer for Off-Grid Communities

AI-Driven Real-Time Dispatch of Solar, Wind, Battery and Diesel for Rural Microgrids

HackOut'26

Theme: Renewable Energy Intelligence

Prepared By:

Team TATVA

September 2026

TABLE OF CONTENTS

1. Introduction................................................................................................................................	3

1.1 Background..................................................................................................................	3

1.2 Motivation...................................................................................................................	3

2. Problem Statement.....................................................................................................................	4

2.1 Problem Definition.......................................................................................................	4

2.2 Challenges Addressed..................................................................................................	4

3. Objectives...................................................................................................................................	5

4. Scope..........................................................................................................................................	6

4.1 In-Scope.......................................................................................................................	6

4.2 Out-of-Scope...............................................................................................................	6

5. Target Users...............................................................................................................................	7

5.1 Primary Users..............................................................................................................	7

5.2 Secondary Beneficiaries..............................................................................................	7

6. Technical Approach...................................................................................................................	8

6.1 System Overview........................................................................................................	8

6.2 Data Inputs.................................................................................................................	9

6.3 Optimization Engine...................................................................................................	9

6.4 Battery / Storage Modeling........................................................................................	10

6.5 Dashboard & Visualization.........................................................................................	10

6.6 AI Day-Ahead Generation & Village Demand Forecast Dashboard............................	11

6.7 AI-Based Per-Unit Predictive Maintenance & Servicing Alerts.  ................................	11

7. Tools & Technologies................................................................................................................	12

7.1 Programming & Modeling..........................................................................................	12

7.2 APIs & Data Sources...................................................................................................	12

7.3 Frontend Technologies..............................................................................................	12

7.4 Supporting Libraries...................................................................................................	12

8. Expected Outcomes / Impact....................................................................................................	13

8.1 Environmental Impact................................................................................................	13

8.2 Economic Impact........................................................................................................	13

8.3 Social Impact..............................................................................................................	13

9. Conclusion.................................................................................................................................	14

10. References...............................................................................................................................	15

10.1 Academic & Research Papers...................................................................................	15

10.2 Tools, Libraries & Frameworks.................................................................................	15

10.3 Data Sources / APIs..................................................................................................	15

10.4 Standards & Reports................................................................................................	15

# 1. Introduction

## 1.1 Background

Off-grid and weakly-connected communities — particularly in rural regions of India and other developing economies — commonly depend on a patchwork of energy sources: small solar arrays, occasional wind installations, lead-acid or lithium battery banks, and diesel generators used as the primary fallback. In most existing deployments, the decision of which source to draw power from at any given moment is either fixed on a static schedule (e.g., “diesel runs 6–9 PM”) or left to the judgment of a local operator without access to forecasts or optimization tools. This leads to three recurring problems: diesel is burned even when renewable generation could have covered the load, batteries are cycled deeply and prematurely aged, and communities occasionally experience blackouts when a shortfall isn't anticipated in time.

Microgrids — small, self-contained electrical networks capable of operating independently from (or in parallel with) a larger grid — are increasingly seen as the practical building block for rural electrification. What is usually missing is not the hardware (solar panels, batteries, and diesel gensets are all mature, inexpensive technologies) but the intelligence layer that decides, cycle by cycle, how to combine them.

## 1.2 Motivation

The core insight behind this project is that microgrid dispatch is fundamentally a constrained optimization problem under uncertainty: given a forecast of renewable supply and community demand, choose how much power to draw from each source so that cost and emissions are minimized while reliability is guaranteed. This framing is well established in the academic literature — reviews of microgrid energy management systems consistently find that linear and mixed-integer linear programming (LP/MILP) are the most widely used and best-performing techniques for short-term dispatch scheduling, precisely because they can encode hard constraints (supply ≥ demand, battery limits, minimum diesel runtime) alongside a cost-minimizing objective in a way that is fast enough to re-solve every dispatch cycle.

What is less commonly built — and is the differentiating motivation for this project — is a system that pairs that optimization core with explainability and a low-connectivity interface, both of which matter enormously for real-world adoption. Studies of microgrid deployment in developing regions repeatedly point to community trust and interpretability as adoption barriers, not the algorithms themselves. An optimizer that a rural operator cannot understand or verify is one that gets overridden or switched off. This project treats “an operator can see why diesel just turned on” as a first-class design requirement, not an afterthought.

# 2. Problem Statement

## 2.1 Problem Definition

Goal: Build a real-time optimization engine that decides the ideal mix of solar, wind, battery storage, and diesel backup for an off-grid microgrid — minimizing cost and emissions while guaranteeing reliable power — using weather forecasts, demand forecasts, and live battery state as inputs.

Formally, at each dispatch cycle (every 15–60 minutes), the system must choose a power allocation across solar, wind, battery discharge, and diesel generation that:

- Satisfies solar + wind + battery discharge + diesel ≥ demand at every timestep in the planning horizon;

- Minimizes a weighted objective of (diesel fuel cost) + (emissions penalty) + (battery degradation cost);

- Respects operational constraints: battery state-of-charge (SoC) floor (~20%), diesel minimum-runtime (no short-cycling), and remaining fuel ≥ 0.

## 2.2 Challenges Addressed

- Wasteful manual/fixed-schedule dispatch: cannot react to changing weather or demand, so diesel is used even when avoidable.

- Lack of forecasting tools: operators react only after generation has already dropped, rather than anticipating it.

- Premature battery degradation: dispatch logic that ignores long-term battery wear trades short-term diesel savings for expensive asset damage.

- Invisible blackout risk: there is typically no forward-looking check that flags an impending shortfall before it happens.

- Distrust of automation: NGOs and rural operators need a human-readable justification before they will let a system make unattended decisions.

- Low connectivity and digital literacy: a web dashboard alone does not reach the people actually operating the site day-to-day.

# 3. Objectives

• Develop an AI-based day-ahead village energy forecasting dashboard using weather (Mausam) predictions to estimate solar and wind electricity generation for a selected date.

• Predict village electricity demand using the previous year's electricity usage on the same calendar date together with the current year's electricity-usage trend from the previous week.

• Combine predicted solar and wind generation and compare it with tentative village demand to calculate available electricity, expected surplus/deficit, and whether the day's renewable generation is sufficient.

• Include previous-day leftover battery energy in the calculation and determine whether stored energy can cover any predicted generation shortfall.

• Use AI-based component-level monitoring to identify individual solar panels or wind turbines that consistently generate less electricity than expected or less than comparable units, and generate a maintenance/service alert.

- To Design and implement a constrained optimization engine that computes a least-cost, lowest-emission, demand-safe dispatch plan across solar, wind, battery, and diesel every 15–60 minutes.

- Integrate short-horizon (1–6 hour) weather and demand forecasting to shift the system from reactive to anticipatory dispatch.

- Model battery degradation explicitly in the cost function so the optimizer trades off immediate diesel savings against long-term battery health.

- Build a forward-looking blackout risk predictor that flags potential shortfalls before they occur, rather than only reacting to the current state.

- Attach a plain-language explanation to every dispatch decision, addressing the “black box” trust barrier directly.

- Extend optimization to the demand side — deferring flexible loads (irrigation, agro-processing, cold storage) into high-renewable windows.

- Present live cost, CO₂, and reliability metrics on an operator-facing dashboard, and via a low-connectivity SMS/voice channel.

- Quantify system impact against a historical/manual baseline using a digital-twin replay of real weather and load data.

# 4. Scope

## 4.1 In-Scope

- A simulated (and optionally live-BMS-fed) microgrid consisting of solar, wind, battery storage, and diesel backup.

- Short-horizon (1–6 hr) weather and demand forecasting via public APIs and/or a regression model over historical load data.

- A rule-based MVP optimizer, upgraded to an LP/MILP solver (PuLP or scipy.optimize.linprog) as the core dispatch engine.

- Battery SoC tracking, a battery-degradation cost term, and diesel minimum-runtime constraints.

- A blackout-risk predictor that simulates forward several cycles.

- A template-based explainability layer generating human-readable justifications.

- Smart/deferrable load control for a small set of flexible loads.

- A web dashboard (cost, CO₂, reliability) plus an optional SMS status-alert channel.

- A “what-if” scenario simulator and a historical replay/digital-twin comparison mode for demo purposes.

- A carbon-credit-style tally of diesel avoided, expressed as a CO₂ reduction metric.

## 4.2 Out-of-Scope

- Real hardware procurement, installation, or grid-code certification of an actual physical microgrid.

- Long-horizon (multi-day/seasonal) capacity planning or investment sizing — the system optimizes dispatch, not design.

- Financial settlement, billing, or actual issuance/trading of carbon credits — the dashboard metric is informational only.

- Multi-microgrid coordination or interconnection with a larger utility grid — single-site, islanded operation is assumed.

- Full production-grade cybersecurity hardening, though basic API access control is assumed.

- Formal compliance with microgrid controller standards (e.g., IEEE 2030.7/2030.8) — referenced as design inspiration only, given hackathon time constraints.

# 5. Target Users

## 5.1 Primary Users

- Microgrid operators / site technicians: need a live, understandable dispatch recommendation and status view, including via SMS where smartphone access is inconsistent.

- Rural electrification agencies and NGOs: deploying and monitoring multiple microgrid sites, needing aggregate cost, reliability, and emissions reporting.

## 5.2 Secondary Beneficiaries

- Off-grid community members: benefit from fewer blackouts and, indirectly, lower energy costs.

- Funders and impact investors: can use diesel-avoided / CO₂-avoided metrics as reporting evidence for renewable-energy and social-impact programs.

- Hackathon judges / evaluators: via the what-if simulator and historical replay mode, which make the system's value tangible in a live demo.

# 6. Technical Approach

## 6.1 System Overview

The system runs a continuous sense → forecast → optimize → dispatch → validate → display → loop cycle, illustrated below:

MICROGRID AI
                           |
             +-------------+-------------+
             v             v             v
         WEATHER        DEMAND        BATTERY
         FORECAST      FORECAST         SOC
             |             |             |
             +-------------+-------------+
                           v
                  +----------------+
                  |  OPTIMIZATION  |
                  |     ENGINE     |
                  +--------+-------+
                           v
             +-------------+-------------+
             v             v             v
           SOLAR        WIND        BATTERY + DIESEL
                           |
                           v
                  SMART LOAD CONTROL
                           |
                           v
                  RELIABILITY CHECK
                           |
               +-----------+-----------+
               v                       v
         BLACKOUT RISK            EXPLANATION
               |                       |
               +-----------+-----------+
                           v
                      DASHBOARD
                           |
             +-------------+-------------+
             v             v             v
           COST           CO2        RELIABILITY

### Execution flow, step by step

- Sense — Pull current battery SoC, live/simulated solar & wind output, and current load.

- Forecast — Call the weather API and load model to project the next 1–6 hours.

- Optimize — Run the optimization engine (rule-based MVP, upgraded to an LP solver) to compute the dispatch plan.

- Dispatch — Assign power draw across solar / wind / battery + diesel; adjust deferrable loads.

- Validate — Run the reliability check: confirm no blackout risk, generate a plain-language explanation.

- Display — Push results to the dashboard (and SMS alert where configured).

- Loop — Repeat next cycle; log actual outcomes against forecast to improve accuracy.

## 6.2 Data Inputs

• Day-Ahead Weather / Mausam Forecast: solar irradiance and wind-speed predictions for the selected date.

• Previous-Year Same-Date Village Demand: electricity consumed by the village on the same calendar date in the previous year.

• Current-Year Previous-Week Trend: recent electricity usage used to estimate the current demand trend.

• Previous-Day Battery Leftover: stored energy carried into the day for shortfall and sufficiency calculations.

• Per-Unit Generation Telemetry: actual output of each solar panel/string and wind turbine for AI maintenance monitoring.

| Module | Function | Data Source |
| --- | --- | --- |
| Weather Forecast | Predicts solar irradiance & wind speed for the next 1–6 hrs | Open-Meteo / OpenWeatherMap API |
| Demand Forecast | Predicts community load (kW) by hour | Historical load lookup table or a regression model |
| Battery SoC | Current state of charge (%) | Simulated or real battery management system (BMS) reading |

## 6.3 Optimization Engine

The optimization engine is the core “brain” of the system. It re-solves a constrained optimization problem each cycle:

- Objective: minimize (diesel fuel cost) + (emissions penalty) + (battery degradation cost).

- Constraint — Supply: solar + wind + battery discharge + diesel ≥ demand at every timestep.

- Constraint — Battery: SoC must stay above a safety floor (e.g., 20%) to protect battery lifespan.

- Constraint — Diesel: the generator avoids short-cycling (a minimum runtime once started).

- Constraint — Fuel: remaining fuel must stay ≥ 0.

An MVP is built as a rule-based to get an end-to-end working loop quickly. This is then upgraded to a proper linear-programming formulation, which the microgrid-EMS literature identifies as the most widely used and best-performing class of technique for this type of short-term scheduling problem — LP/MILP can jointly encode the hard operational constraints and the cost objective in a form that solves in well under a second, which is essential for a 15–60 minute re-optimization cycle. PuLP and scipy.optimize.linprog are both suitable open-source solvers at this scale.

Two differentiators sit on top of the core LP formulation:

- Blackout Risk Predictor: simulates forward a few cycles using the same forecasts to flag potential future shortfalls before they happen, turning the system from reactive to proactive, safety-aware infrastructure.

- Battery Degradation-Aware Cost Function: includes an explicit wear-cost term so the optimizer does not trade a small diesel saving for a disproportionately large reduction in battery life.

## 6.4 Battery / Storage Modeling

The battery is modeled as a bounded energy reservoir with:

- A tracked state of charge (SoC), updated each cycle from charge/discharge flows.

- A hard safety floor (e.g., 20% SoC) below which discharge is disallowed, protecting battery lifespan.

- A degradation cost term in the optimizer's objective, penalizing deep or frequent cycling.

- Charge preference during high-renewable, low-demand windows, replenishing ahead of anticipated shortfalls flagged by the blackout-risk predictor.

## 6.5 Dashboard & Visualization

The dashboard is the primary interface for microgrid operators and surfaces three tracked metrics, refreshed each dispatch cycle:

- Cost: ₹ spent on diesel fuel versus ₹ saved relative to a diesel-first baseline.

- CO₂: emissions avoided by preferring renewables over diesel, including a running “potential carbon credits generated” tally.

- Reliability: uptime %, blackout-risk flags, and battery health trend.

Two additional presentation-layer features extend the dashboard's usefulness beyond the live view:

- What-if scenario simulator: lets an operator or judge simulate a disruption (e.g., “3 cloudy days in a row”) and watch battery drawdown, diesel dependency, and projected fuel needs respond in real time.

- Historical replay / digital-twin mode: feeds in a week of real historical weather and load data to produce a concrete before/after comparison (e.g., “manual diesel-first approach used 40 L fuel this week; the optimizer would have used 22 L”).

For sites without reliable smartphone/dashboard access, a parallel SMS or voice status alert (e.g., via Twilio) delivers the same information in plain language — “Diesel running, battery 15%, switching to solar ~2 PM” — directly addressing low-connectivity, low-literacy usability constraints common in the target deployment environments.

## 6.6 AI Day-Ahead Generation & Village Demand Forecast Dashboard

This dashboard provides a day-ahead view of whether a selected village is expected to have enough renewable electricity to meet its demand. It uses weather (Mausam) predictions for solar irradiance and wind conditions and converts them into expected solar and wind generation for the selected day.

Village demand is estimated using two historical signals: electricity consumed on the same calendar date in the previous year and the current year's usage trend from the previous week. These values provide a tentative prediction of the selected day's electricity requirement.

The dashboard combines forecast solar generation and forecast wind generation to calculate total renewable generation. It then compares this with predicted village demand and the battery energy left over from the previous day.

Key dashboard outputs include forecast solar generation (kWh), forecast wind generation (kWh), total renewable generation (kWh), predicted village demand (kWh), previous-day battery leftover (kWh), expected available energy, tentative surplus/deficit, and a clear sufficiency status.

If predicted renewable generation is lower than demand, the system checks whether previous-day leftover battery energy can cover the shortfall. If the combined renewable generation and available stored energy remain insufficient, the system raises an early warning so the optimization engine can plan battery charging, diesel backup, or deferrable-load scheduling.

## 6.7 AI-Based Per-Unit Predictive Maintenance & Servicing Alerts

A microgrid may contain multiple solar panels, strings, and wind turbines. Monitoring only total site generation can hide an individual component that is underperforming. This module therefore maintains a performance record for each panel/string and wind turbine.

For every unit, the AI compares actual electricity generation with expected generation under the prevailing weather conditions. It also compares the unit with its recent performance and with comparable units at the same site.

A single low reading is not treated as a maintenance fault because temporary weather variation or measurement noise can cause short-term changes. The system instead looks for persistent underperformance.

When a particular solar panel or wind turbine consistently generates noticeably less electricity than expected or less than comparable units, the system flags that component for inspection and servicing.

The dashboard generates a service alert containing the component ID, expected output, actual output, performance gap, duration of underperformance, and maintenance/inspection status. This allows operators to identify the particular component requiring attention instead of checking the entire installation.

# 7. Tools & Technologies

## 7.1 Programming & Modeling

- Python as the primary language for the optimization engine, forecasting model, and backend logic.

- PuLP or scipy.optimize.linprog as the LP/MILP solver for the dispatch optimization.

- A lightweight regression model (e.g., scikit-learn) for demand forecasting where a historical lookup table is insufficient.

## 7.2 APIs & Data Sources

- Open-Meteo or OpenWeatherMap API for solar irradiance and wind-speed forecasts.

- A synthetic data simulator (Python script) generating realistic solar/wind/load/battery curves for development, testing, and digital-twin replay.

- Twilio API (optional) for SMS/voice status alerts.

## 7.3 Frontend Technologies

- React for the operator-facing dashboard.

- Recharts or D3.js for live energy-mix, cost, CO₂, and reliability visualizations.

## 7.4 Supporting Libraries

• AI/ML forecasting layer for day-ahead renewable-generation and village-demand prediction.

• Weather (Mausam) forecast data for solar irradiance and wind-speed inputs.

• Historical village electricity-usage dataset for previous-year same-date comparison and previous-week trend analysis.

• Per-unit telemetry dataset for AI-based solar-panel and wind-turbine performance monitoring and maintenance alerts.

- FastAPI or Flask for the backend API layer connecting the optimization engine, data sources, and dashboard.

- PostgreSQL or SQLite for logging dispatch decisions, forecast accuracy, and historical performance data.

# 8. Expected Outcomes / Impact

## 8.1 Environmental Impact

By preferentially dispatching solar and wind ahead of diesel wherever reliability constraints allow, and by anticipating shortfalls early enough to charge the battery in advance rather than reactively firing the generator, the system is expected to meaningfully reduce diesel consumption and associated CO₂ emissions relative to a fixed-schedule or manual baseline. The historical replay mode is designed to produce a quantified, auditable version of this claim rather than leaving it as an unverified assumption, and the dashboard's carbon-credit-style tally turns avoided diesel directly into a reportable emissions-reduction metric.

## 8.2 Economic Impact

Diesel is typically the most expensive marginal source of power in an off-grid microgrid, in both direct fuel cost and generator maintenance driven by runtime hours. Minimizing diesel use — while explicitly protecting battery health via the degradation-aware cost term — is intended to lower both short-term fuel spend and long-term capital replacement cost for battery assets, which are usually the most expensive single component of a microgrid. The dashboard's real-time cost-saved metric gives operating agencies a continuously updated economic justification for the system.

## 8.3 Social Impact

The explainability layer and the SMS/voice interface are aimed squarely at the adoption barrier that most comparable systems ignore: rural operators and NGOs are understandably wary of handing dispatch control to an opaque automated system, and many sites do not have consistent smartphone or dashboard access. By pairing every automated decision with a plain-language reason, and by delivering status over SMS where needed, the system is designed to be trusted and actually used by the people running the site day-to-day — not just technically correct in simulation. Improved reliability directly benefits the underserved communities the microgrid serves.

# 9. Conclusion

This project reframes microgrid dispatch as a real-time constrained optimization problem — balancing solar, wind, battery, and diesel against cost, emissions, and reliability — and builds around that core an explainability layer, a forward-looking blackout-risk predictor, demand-side load control, and a low-connectivity operator interface. None of the individual pieces is exotic: LP-based dispatch, weather-driven forecasting, and SMS alerting are all well-understood techniques. The differentiation is in combining them specifically to address the barriers that determine whether a system like this is actually adopted in the field — trust, connectivity, and long-term asset health — rather than optimizing purely for simulated cost savings.

The recommended build order (data simulator → rule-based MVP → dashboard → reliability/explanation layer → LP upgrade → 1–2 differentiators) is structured to produce a working, demo-able end-to-end loop early, with technical depth and judge-facing narrative layered on as time allows.

# 10. References

## 10.1 Academic & Research Papers

- Khan, A. A., Naeem, M., Iqbal, M., Qaisar, S., & Anpalagan, A. A Compendium of Optimization Objectives, Constraints, Tools and Algorithms for Energy Management in Microgrids. Renewable and Sustainable Energy Reviews.

- Role of Optimization Techniques in Microgrid Energy Management Systems — A Review. ScienceDirect / Sustainable Energy Technologies and Assessments, 2022.

- Energy Management in Microgrid using Linear Programming Optimization. IEEE Conference Publication, IEEE Xplore.

- Design and Development of a Management System for Energy Microgrids Using Linear Programming (Colombian off-grid community case study). Applied Sciences, MDPI, 2022. https://doi.org/10.3390/app12083980

- A Fast Dynamic Internal Predictive Power Scheduling Approach for Power Management in Microgrids. arXiv:2409.16643.

## 10.2 Tools, Libraries & Frameworks

- PuLP — open-source linear programming modeler for Python.

- SciPy (scipy.optimize.linprog) — LP solver used as an alternative optimization backend.

- FastAPI / Flask — Python web frameworks for the backend API layer.

- React, Recharts, D3.js — frontend dashboard and visualization stack.

- PostgreSQL / SQLite — data storage for decision and performance logging.

- Twilio API — SMS/voice alerting for low-connectivity operator interfaces.

## 10.3 Data Sources / APIs

- Open-Meteo API — free weather forecast data (solar irradiance, wind speed).

- OpenWeatherMap API — alternative/complementary weather forecast source.

## 10.4 Standards & Reports

- IEEE Std 2030.7-2017: IEEE Standard for the Specification of Microgrid Controllers, defining the functional requirements of a microgrid energy management system (MEMS) across grid-connected and islanded operation.

- IEEE Std 2030.8-2018: IEEE Standard for the Testing of Microgrid Controllers, the companion standard specifying test procedures and metrics for the functions defined in 2030.7.